## Raw_Data
Sample | [6 empty] | 24 Mg [ No Collision Cell ] |  |  |  | 26 Mg [ No Collision Cell ] |  |  |  | 42 Ca [ No Collision Cell ] |  |  |  | 43 Ca [ No Collision Cell ] |  |  |  | 44 Ca [ No Collision Cell ] |  |  |  | 55 Mn [ No Collision Cell ] |  |  |  | 60 Ni [ No Collision Cell ] |  |  |  | 86 Sr [ No Collision Cell ] |  |  |  | 88 Sr [ No Collision Cell ] |  |  |  | 45 Sc ( ISTD ) [ No Collision Cell ] |  |  | 89 Y ( ISTD ) [ No Collision Cell ] |  |  | 115 In ( ISTD ) [ No Collision Cell ]
| Rjct | Data File | Acq. Date-Time | Type | Level | Sample Name | Conc. [ ppb ] | Conc. RSD | CPS | CPS RSD | Conc. [ ppb ] | Conc. RSD | CPS | CPS RSD | Conc. [ ppb ] | Conc. RSD | CPS | CPS RSD | Conc. [ ppb ] | Conc. RSD | CPS | CPS RSD | Conc. [ ppb ] | Conc. RSD | CPS | CPS RSD | Conc. [ ppb ] | Conc. RSD | CPS | CPS RSD | Conc. [ ppb ] | Conc. RSD | CPS | CPS RSD | Conc. [ ppb ] | Conc. RSD | CPS | CPS RSD | Conc. [ ppb ] | Conc. RSD | CPS | CPS RSD | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery %
24 Mg [ No Collision Cell ] : CPS RSD value = 8.69 is over the allowed maximum = 5.0045 Sc ( ISTD ) [ No Collision Cell ] : CPS RSD value = 5.82 is over the allowed maximum = 5.0089 Y ( ISTD ) [ No Collision Cell ] : CPS RSD value = 6.16 is over the allowed maximum = 5.00115 In ( ISTD ) [ No Collision Cell ] : CPS RSD value = 5.38 is over the allowed maximum = 5.00 | FALSE | 001CALB.d | 2019-11-26 16:43 | CalBlk | 1 | test pancake | 0.887 | 19.1 | 24729.25 | 8.7 | 0.863 | 24.3 | 4310.98 | 10.4 | 70.594 | 376.7 | 1170110.46 | 1 | 0.964 | 28.4 | 1041.09 | 4.7 | 2.332 | 80 | 47135.68 | 1.4 | -0.001 | N/A | 8531.07 | 4 | 0.011 | 66 | 936.98 | 11.3 | 0.003 | 347.8 | 306.31 | 21.5 | 0 | 288.1 | 308.32 | 17.1 | 35462.03 | 5.8 | 100 | 49864.1 | 6.2 | 100 | 55411.69 | 5.4 | 100
| FALSE | 002CALB.d | 2019-11-26 16:46 | CalBlk | 1 | Blank | 0 | N/A | 7333.2 | 5.7 | 0 | N/A | 1749.87 | 10.6 | 0 | N/A | 1181600.82 | 1.3 | 0 | N/A | 971.01 | 14.5 | 0 | N/A | 45314.41 | 2.1 | 0 | N/A | 8853.59 | 2.1 | 0 | N/A | 836.87 | 11.6 | 0 | N/A | 298.31 | 9.3 | 0 | N/A | 300.31 | 19.6 | 36300.72 | 1.8 | 100 | 51804.58 | 1.8 | 100 | 51151.27 | 1.5 | 100
| FALSE | 003CALS.d | 2019-11-26 16:49 | CalStd | 2 | most dilute std | 9.832 | 1.9 | 207729.79 | 0.4 | 9.777 | 0.7 | 32130.58 | 1.5 | 43.058 | 222.3 | 1190458.46 | 1.2 | 7.418 | 19.1 | 1707.83 | 6.8 | 6.056 | 15.8 | 53051.57 | 1.9 | 26.246 | 4.5 | 2886169.91 | 2.8 | 2.939 | 2.8 | 36405.56 | 1.5 | 7.85 | 2.9 | 58812.06 | 1.6 | 7.861 | 2 | 516495.39 | 1.4 | 36214.35 | 1.7 | 99.8 | 51714.25 | 1.7 | 99.8 | 49867.52 | 1 | 97.5
| FALSE | 004CALS.d | 2019-11-26 16:52 | CalStd | 3 | middle std | 98.721 | 4.1 | 2004965.53 | 3.2 | 98.959 | 1.4 | 307070.8 | 1.5 | 127.033 | 78.3 | 1204778.74 | 0.8 | 89.19 | 4.7 | 9813.13 | 2.4 | 88.762 | 3.3 | 158849.94 | 0.9 | 264.764 | 1.8 | 28842641.88 | 1.4 | 28.96 | 1.1 | 352016.09 | 1.4 | 78.328 | 1.2 | 585353.56 | 1.3 | 76.944 | 2.8 | 5062551.12 | 2.5 | 35963.57 | 2.5 | 99.1 | 51808.56 | 1.4 | 100 | 50614.75 | 1.1 | 99
| FALSE | 005CALS.d | 2019-11-26 16:55 | CalStd | 4 | most conc std | 999.628 | 0.4 | 20881045.31 | 0.9 | 999.606 | 1 | 3183373.09 | 0.6 | 912.838 | 11.3 | 1462908.03 | 1.8 | 916.798 | 1.8 | 94908.02 | 1.6 | 916.853 | 3 | 1260765.52 | 2.7 | 2704.197 | 1.5 | 303832097.39 | 1.6 | 297.93 | 1.1 | 3642091.76 | 1.7 | 800.777 | 1.6 | 6029232.21 | 2.6 | 800.908 | 2.3 | 53117111.99 | 3.1 | 37091.47 | 0.9 | 102.2 | 52212.46 | 1.2 | 100.8 | 50773.7 | 2.3 | 99.3
| FALSE | 006SMPL.d | 2019-11-26 16:57 | Sample |  | cleanout | 0.028 | 60.7 | 7938.1 | 3.9 | 0.038 | 136.3 | 1876.02 | 7.9 | 146.432 | 35.5 | 1227272.44 | 1 | 1.163 | 46.7 | 1091.14 | 4.7 | 2.297 | 28.3 | 48527.54 | 1.6 | 0.051 | 6.1 | 14559.88 | 2 | -0.015 | N/A | 644.66 | 16.1 | 0.003 | 313.7 | 316.33 | 22.2 | 0 | 202 | 326.34 | 19.1 | 36461.35 | 0.7 | 100.4 | 50942.79 | 1.6 | 98.3 | 49439.41 | 2.8 | 96.7
| FALSE | 007SMPL.d | 2019-11-26 17:00 | Sample |  | cleanout | 0.039 | 47.5 | 8114.37 | 4.9 | 0.016 | 344.9 | 1797.93 | 10.1 | 194.255 | 46.3 | 1231702.91 | 1.7 | 0.72 | 192.3 | 1039.09 | 13.2 | 2.707 | 18.2 | 48718.32 | 1.2 | 0.041 | 5.4 | 13327.44 | 1.8 | -0.014 | N/A | 648.67 | 5.7 | 0.01 | 100.6 | 362.37 | 20.6 | 0.001 | 70.5 | 386.4 | 17 | 36206.35 | 0.8 | 99.7 | 50313.9 | 1.5 | 97.1 | 48571.71 | 2.8 | 95
42 Ca [ No Collision Cell ] : Concentration value = 2693.81 is over the calibration range43 Ca [ No Collision Cell ] : Concentration value = 1391.17 is over the calibration range44 Ca [ No Collision Cell ] : Concentration value = 1631.80 is over the calibration range | FALSE | 008SMPL.d | 2019-11-26 17:03 | Sample |  | Strelow-2-1 | 18.367 | 2.2 | 386473.81 | 0.6 | 18.586 | 1.8 | 60248.43 | 1.5 | 2693.813 | 8.2 | 1938651.18 | 2.6 | 1391.171 | 3.1 | 141824.37 | 1.4 | 1631.804 | 3.1 | 2182283.69 | 2.4 | 0.781 | 2.2 | 95720.27 | 2.1 | 0.058 | 27.9 | 1501.59 | 12.2 | 6.829 | 2.4 | 50026.44 | 1.4 | 6.773 | 2.1 | 434782.64 | 1 | 36672.38 | 2.1 | 101 | 50524.9 | 1.8 | 97.5 | 49078.04 | 1.6 | 95.9
42 Ca [ No Collision Cell ] : Concentration value = 4835.88 is over the calibration range43 Ca [ No Collision Cell ] : Concentration value = 2622.43 is over the calibration range44 Ca [ No Collision Cell ] : Concentration value = 3109.46 is over the calibration range | FALSE | 009SMPL.d | 2019-11-26 17:06 | Sample |  | Strelow-2-2 | 23.03 | 2.5 | 486740.5 | 1.6 | 22.981 | 3.2 | 74675.25 | 1.5 | 4835.884 | 7.3 | 2551785.48 | 2.6 | 2622.426 | 2.2 | 268749.26 | 1.3 | 3109.461 | 3.4 | 4150681.43 | 1.9 | 1.012 | 2.2 | 122305.59 | 2.3 | 0.13 | 13.7 | 2348.56 | 10.3 | 10.451 | 2 | 75990.88 | 1.3 | 10.454 | 1.2 | 667452.5 | 1.9 | 36983.13 | 2.7 | 101.9 | 50245.51 | 1.4 | 97 | 48672.03 | 1.4 | 95.2
42 Ca [ No Collision Cell ] : Concentration value = 1605.55 is over the calibration range44 Ca [ No Collision Cell ] : Concentration value = 966.44 is over the calibration range | FALSE | 010SMPL.d | 2019-11-26 17:09 | Sample |  | Strelow-2-3 | 6.336 | 1 | 141336.45 | 0.9 | 6.402 | 2.2 | 22415.28 | 2.9 | 1605.551 | 5 | 1674911.4 | 0.8 | 800.441 | 1.2 | 83901.67 | 1.2 | 966.441 | 2.7 | 1340952.42 | 2.2 | 0.275 | 1.9 | 40397.69 | 1.5 | 0.018 | 31.8 | 1023.07 | 6.4 | 2.975 | 1.6 | 21846.44 | 1.6 | 2.988 | 1.6 | 191053.1 | 2.5 | 37498.83 | 0.9 | 103.3 | 50267.86 | 2 | 97 | 49314.97 | 0.7 | 96.4
| FALSE | 011SMPL.d | 2019-11-26 17:11 | Sample |  | Strelow-2-4 | 0.289 | 9.5 | 13579.81 | 3.8 | 0.279 | 22.4 | 2688.95 | 7.4 | 345.594 | 23 | 1309873.49 | 2.5 | 81.76 | 3.7 | 9404.46 | 2.6 | 103.226 | 2 | 183824.05 | 1.2 | -0.004 | N/A | 8631.22 | 2.2 | -0.027 | N/A | 498.51 | 16.2 | 0.187 | 11.7 | 1681.79 | 9.6 | 0.18 | 3.2 | 12011.14 | 5 | 37248.01 | 1.1 | 102.6 | 51354.55 | 2.1 | 99.1 | 49544.12 | 1.9 | 96.9
| FALSE | 012SMPL.d | 2019-11-26 17:14 | Sample |  | Strelow-2-5 | 0.197 | 10.6 | 11594.14 | 4 | 0.161 | 44.9 | 2300.5 | 10.7 | 222.789 | 38.1 | 1268502.4 | 1.2 | 46.632 | 3.4 | 5760.93 | 1.2 | 59.722 | 3 | 125297.11 | 0.9 | -0.007 | N/A | 8230.61 | 1.6 | -0.036 | N/A | 388.4 | 11.6 | 0.105 | 17.8 | 1045.09 | 11.3 | 0.101 | 4.4 | 6738.38 | 4.9 | 37059.3 | 1.9 | 102.1 | 50205.42 | 1.8 | 96.9 | 49622.34 | 1.6 | 97
24 Mg [ No Collision Cell ] : CPS RSD value = 9.41 is over the allowed maximum = 5.00 | FALSE | 013SMPL.d | 2019-11-26 17:17 | Sample |  | Strelow-2-6 | 0.178 | 25.9 | 11125.37 | 9.4 | 0.168 | 31.6 | 2306.51 | 8.1 | 230.274 | 40.1 | 1261813.39 | 2.4 | 34.191 | 8.5 | 4459.17 | 7.3 | 45.565 | 4.4 | 105797.49 | 0.4 | -0.004 | N/A | 8487.03 | 5.9 | -0.03 | N/A | 454.47 | 15.5 | 0.105 | 6.9 | 1047.1 | 5.8 | 0.095 | 4.7 | 6327.78 | 4.5 | 36800.45 | 2.3 | 101.4 | 50217.5 | 1.9 | 96.9 | 49047.94 | 2 | 95.9
| FALSE | 014SMPL.d | 2019-11-26 17:20 | Sample |  | Strelow-2-7 | 0.159 | 14.6 | 10724.63 | 2.6 | 0.134 | 35.2 | 2200.38 | 8 | 131.291 | 40.6 | 1234110.62 | 1.2 | 31.071 | 10.1 | 4138.75 | 7.3 | 37.975 | 4.3 | 95826.47 | 1.3 | -0.008 | N/A | 8042.31 | 1 | -0.02 | N/A | 584.6 | 20.5 | 0.081 | 14.6 | 884.92 | 11 | 0.083 | 3.5 | 5628.78 | 3 | 36794.4 | 2.1 | 101.4 | 50538.87 | 2 | 97.6 | 49086.06 | 2.2 | 96
| FALSE | 015SMPL.d | 2019-11-26 17:22 | Sample |  | Blank | 0.032 | 82.7 | 8000.2 | 7.5 | 0.003 | 1261.1 | 1759.88 | 5.4 | 169.617 | 31.4 | 1228460.6 | 1.4 | 0.722 | 164.6 | 1043.09 | 12.3 | 2.116 | 45.7 | 48083.63 | 2.2 | 0.008 | 81.9 | 9749.07 | 6.9 | -0.011 | N/A | 684.71 | 15.1 | 0.007 | 143.4 | 340.35 | 20.8 | 0.004 | 44.8 | 572.59 | 21.9 | 36308.73 | 1.4 | 100 | 50183.4 | 2.5 | 96.9 | 49068.11 | 1.9 | 95.9
| FALSE | 016SMPL.d | 2019-11-26 17:25 | Sample |  | middle std | 101.668 | 1 | 2068515.03 | 1.5 | 98.633 | 1 | 306544.05 | 1 | 255.683 | 11 | 1241834.86 | 0.4 | 85.871 | 3.2 | 9502.63 | 2.7 | 89.566 | 2.2 | 160160.52 | 1.3 | 259.018 | 0.8 | 28263950.58 | 1.2 | 28.793 | 1.1 | 342692.42 | 1.4 | 78.993 | 0.5 | 577990.2 | 0.6 | 79.549 | 0.7 | 5125193.67 | 1.3 | 36011.7 | 0.6 | 99.2 | 50723.75 | 0.7 | 97.9 | 49666.51 | 2.2 | 97.1
| FALSE | 017SMPL.d | 2019-11-26 17:28 | Sample |  | Strelow-2-8 | 0.229 | 8 | 12279.36 | 4.8 | 0.226 | 16.3 | 2512.75 | 6.6 | 149.108 | 141.3 | 1249111.64 | 3.9 | 46.536 | 5.8 | 5758.93 | 4.6 | 58.111 | 4.6 | 123286.5 | 1 | 0.012 | 25.2 | 10448.22 | 2 | -0.019 | N/A | 592.61 | 7.3 | 0.152 | 8.7 | 1407.49 | 7.4 | 0.14 | 2.8 | 9308.37 | 3 | 37105.46 | 2.4 | 102.2 | 50854.25 | 1.3 | 98.2 | 50074.47 | 1.6 | 97.9
| FALSE | 018SMPL.d | 2019-11-26 17:31 | Sample |  | Strelow-2-9 | 0.26 | 6 | 12862.45 | 2.1 | 0.249 | 22.5 | 2572.81 | 6.4 | 75.8 | 79.7 | 1223829.14 | 1 | 35.325 | 2.9 | 4591.34 | 2 | 46.775 | 2.9 | 107848.19 | 1 | 0.007 | 47.3 | 9801.14 | 3.4 | -0.013 | N/A | 668.69 | 13.8 | 0.115 | 15.5 | 1133.19 | 12.6 | 0.116 | 2.8 | 7755.9 | 3.1 | 36945.02 | 0.9 | 101.8 | 50709.76 | 1.6 | 97.9 | 49909.64 | 1.5 | 97.6
| FALSE | 019SMPL.d | 2019-11-26 17:34 | Sample |  | Strelow-2-10 | 0.267 | 4.1 | 12954.65 | 1.6 | 0.265 | 9 | 2610.86 | 3.7 | 65.956 | 181.4 | 1215539.96 | 1.2 | 26.042 | 11.8 | 3628.11 | 8.5 | 34.168 | 3.6 | 90816.54 | 0.8 | 0.005 | 76 | 9584.79 | 5 | -0.013 | N/A | 668.69 | 11.5 | 0.1 | 6.3 | 1025.07 | 5.4 | 0.094 | 5.3 | 6357.81 | 4.9 | 36788.36 | 1.8 | 101.3 | 50866.4 | 1.3 | 98.2 | 48997.7 | 0.9 | 95.8
42 Ca [ No Collision Cell ] : Concentration value = 10005.20 is over the calibration range43 Ca [ No Collision Cell ] : Concentration value = 5983.81 is over the calibration range44 Ca [ No Collision Cell ] : Concentration value = 7032.85 is over the calibration range | FALSE | 020SMPL.d | 2019-11-26 17:36 | Sample |  | Strelow-2-11 | 1.49 | 1.2 | 39196.32 | 1.3 | 1.386 | 9.2 | 6295.66 | 6.5 | 10005.203 | 1.6 | 4069021.27 | 1.4 | 5983.808 | 1.6 | 623391.96 | 0.9 | 7032.849 | 2.6 | 9505062.29 | 1.8 | 0.74 | 1.8 | 93665.15 | 2 | 1.324 | 4.5 | 16868.64 | 2.9 | 25.759 | 1.8 | 192454.62 | 0.8 | 25.731 | 2.6 | 1691182.14 | 2.2 | 37663.43 | 1.3 | 103.8 | 51754.53 | 2.3 | 99.9 | 52270.69 | 2.7 | 102.2
42 Ca [ No Collision Cell ] : Concentration value = 8802.47 is over the calibration range43 Ca [ No Collision Cell ] : Concentration value = 5145.98 is over the calibration range44 Ca [ No Collision Cell ] : Concentration value = 6121.21 is over the calibration range | FALSE | 021SMPL.d | 2019-11-26 17:39 | Sample |  | Strelow-2-12 | 1.479 | 3.1 | 40458.83 | 2.4 | 1.416 | 2.4 | 6638.15 | 1.6 | 8802.465 | 3.6 | 3869791.25 | 2.1 | 5145.979 | 2.6 | 556776.87 | 2 | 6121.211 | 2.9 | 8596416.43 | 2.3 | 0.757 | 1.7 | 99174.39 | 1.2 | 2.006 | 3 | 25746.44 | 2 | 23.937 | 2.2 | 183234.69 | 1.4 | 24.459 | 1.4 | 1647187.65 | 1.9 | 39104.75 | 0.7 | 107.7 | 53024.25 | 2.6 | 102.4 | 52933.73 | 2.2 | 103.5
42 Ca [ No Collision Cell ] : Concentration value = 8625.78 is over the calibration range43 Ca [ No Collision Cell ] : Concentration value = 4978.46 is over the calibration range44 Ca [ No Collision Cell ] : Concentration value = 5832.87 is over the calibration range | FALSE | 022SMPL.d | 2019-11-26 17:42 | Sample |  | Strelow-2-13 | 1.551 | 1.3 | 42384.03 | 1.2 | 1.462 | 5.2 | 6848.48 | 3.4 | 8625.781 | 4.2 | 3848739.01 | 2.7 | 4978.461 | 1.2 | 543079.61 | 0.7 | 5832.868 | 1.5 | 8261913.97 | 2.2 | 0.841 | 1.3 | 110035.55 | 0.9 | 1.309 | 1.9 | 17022.99 | 1.9 | 24.839 | 1.2 | 189297.21 | 1.7 | 25.293 | 1.9 | 1695524.29 | 2.4 | 39421.74 | 0.9 | 108.6 | 52773.25 | 1.6 | 101.9 | 54378.56 | 0.7 | 106.3
42 Ca [ No Collision Cell ] : Concentration value = 18802.64 is over the calibration range43 Ca [ No Collision Cell ] : Concentration value = 11015.12 is over the calibration range44 Ca [ No Collision Cell ] : Concentration value = 12963.14 is over the calibration range | FALSE | 023SMPL.d | 2019-11-26 17:45 | Sample |  | Strelow-2-14 | 1.337 | 3.1 | 37054.75 | 1.8 | 1.254 | 10.8 | 6045.31 | 5.7 | 18802.645 | 2.3 | 6770531.51 | 1.1 | 11015.115 | 3 | 1181791.15 | 1.2 | 12963.142 | 3.8 | 18015843.58 | 2.5 | 0.786 | 2 | 101915.66 | 1.3 | 0.933 | 4 | 12407.73 | 3.8 | 24.613 | 2.2 | 187935.63 | 1.8 | 24.989 | 1 | 1678487.85 | 0.9 | 38829.72 | 2.2 | 107 | 52877.71 | 0.7 | 102.1 | 54060.97 | 2.2 | 105.7
42 Ca [ No Collision Cell ] : Concentration value = 26730.91 is over the calibration range43 Ca [ No Collision Cell ] : Concentration value = 15415.45 is over the calibration range44 Ca [ No Collision Cell ] : Concentration value = 18783.67 is over the calibration range | FALSE | 024SMPL.d | 2019-11-26 17:48 | Sample |  | Strelow-2-15 | 1.551 | 2.2 | 42677.14 | 0.3 | 1.376 | 4.2 | 6602.12 | 1.9 | 26730.91 | 3.1 | 9298045.53 | 1.3 | 15415.447 | 2.8 | 1691193.95 | 1.4 | 18783.673 | 3.6 | 26678489.92 | 2.6 | 0.727 | 1.7 | 97169 | 1.4 | 0.872 | 4.2 | 11313.77 | 3.9 | 26.65 | 1.7 | 197695.57 | 1.7 | 27.237 | 0.9 | 1777444.01 | 0.4 | 39710.83 | 1.9 | 109.4 | 51374.72 | 0.5 | 99.2 | 51121.16 | 1.4 | 99.9
24 Mg [ No Collision Cell ] : Concentration value = 1262.12 is over the calibration range26 Mg [ No Collision Cell ] : Concentration value = 1266.28 is over the calibration range42 Ca [ No Collision Cell ] : Concentration value = 289367.41 is over the calibration range43 Ca [ No Collision Cell ] : Concentration value = 166256.05 is over the calibration range44 Ca [ No Collision Cell ] : Concentration value = 201944.75 is over the calibration range45 Sc ( ISTD ) [ No Collision Cell ] : ISTD Recovery Percent value = 155.43 is outside the allowed range [80.00, 120.00]89 Y ( ISTD ) [ No Collision Cell ] : ISTD Recovery Percent value = 1365.57 is outside the allowed range [80.00, 120.00] | FALSE | 025SMPL.d | 2019-11-26 17:50 | Sample |  | Prechem Strelow-3 | 1262.118 | 2.6 | 40091256.59 | 1.6 | 1266.277 | 2.8 | 6131846.98 | 1.3 | 289367.409 | 2.1 | 124991654.25 | 1.4 | 166256.054 | 1.2 | 25909871.59 | 1.8 | 201944.747 | 1.9 | 406928410.08 | 1.2 | 55.596 | 1.5 | 9514663.7 | 1.5 | 1.095 | 1.3 | 192816.85 | 2.3 | 63.71 | 1.4 | 6501977.66 | 1.6 | 63.643 | 2.5 | 57195030.01 | 3.5 | 56423.37 | 1.7 | 155.4 | 707426.05 | 1.4 | 1365.6 | 46727.65 | 1.5 | 91.4
| FALSE | 026SMPL.d | 2019-11-26 17:53 | Sample |  | Blank | 0.03 | 106.5 | 8681.27 | 7.4 | 0.054 | 41.5 | 2100.27 | 4.7 | 712.013 | 16.1 | 1504476.01 | 1.3 | 0.648 | 224.8 | 1129.18 | 12.7 | 15.487 | 7.2 | 71482.55 | 1.3 | 0.016 | 31.2 | 11548.15 | 4.4 | -0.012 | N/A | 676.7 | 9 | 0.017 | 69.5 | 418.43 | 20.2 | 0.007 | 20.2 | 752.78 | 12.4 | 39676.61 | 1.6 | 109.3 | 51083.39 | 0.8 | 98.6 | 49592.3 | 2.3 | 97
| FALSE | 027SMPL.d | 2019-11-26 17:56 | Sample |  | middle std | 102.884 | 3.5 | 2251995.29 | 3.4 | 97.125 | 3 | 324755.77 | 2.1 | 706.468 | 17.3 | 1467917.67 | 2.2 | 85.058 | 2.2 | 10143.69 | 4.2 | 96.318 | 3.8 | 181635.12 | 1.4 | 258.981 | 2.6 | 30401283.46 | 1.9 | 28.851 | 2.7 | 350573.7 | 1.6 | 77.649 | 2.8 | 580068.05 | 1.5 | 80.523 | 2.9 | 5295974.13 | 0.9 | 38759.36 | 2.8 | 106.8 | 51806.92 | 2.1 | 100 | 51058.85 | 1.4 | 99.8
| FALSE | 028SMPL.d | 2019-11-26 17:59 | Sample |  | Blank | 0.048 | 37.6 | 9077.89 | 5.7 | 0.01 | 417.1 | 1944.09 | 8 | 447.786 | 20.1 | 1422017.75 | 1.5 | 0.947 | 122.7 | 1159.21 | 9.4 | 12.231 | 11.8 | 66695.78 | 1.6 | 0.006 | 48.8 | 10420.19 | 3 | -0.009 | N/A | 726.75 | 9.7 | 0.012 | 122.6 | 392.4 | 29.6 | 0.007 | 37.4 | 790.82 | 23.7 | 39584.33 | 2.4 | 109 | 51947.31 | 1 | 100.3 | 51237.71 | 2.3 | 100.2
| FALSE | 029SMPL.d | 2019-11-26 18:01 | Sample |  | Blank | 0.063 | 25.4 | 9266.21 | 7.1 | 0.006 | 602.1 | 1902.04 | 7.9 | 495.845 | 24.5 | 1413647.52 | 1.7 | 0.402 | 273.7 | 1087.14 | 13.9 | 10.993 | 19.8 | 63904.72 | 2.7 | 0.006 | 95.8 | 10223.85 | 3.7 | -0.017 | N/A | 636.66 | 14.6 | 0.01 | 83.8 | 378.39 | 17.4 | 0.005 | 37.4 | 666.69 | 19.7 | 38972.19 | 3.6 | 107.4 | 52540.14 | 1.1 | 101.4 | 51979.16 | 2.5 | 101.6
42 Ca [ No Collision Cell ] : Concentration value = 1942.54 is over the calibration range43 Ca [ No Collision Cell ] : Concentration value = 966.41 is over the calibration range44 Ca [ No Collision Cell ] : Concentration value = 1223.69 is over the calibration range | FALSE | 030SMPL.d | 2019-11-26 18:04 | Sample |  | Strelow-3-1 | 22.547 | 1.9 | 517194.62 | 1.4 | 22.439 | 1.5 | 79170.52 | 1.5 | 1942.542 | 3.5 | 1893561.84 | 0.7 | 966.408 | 1.4 | 108132.64 | 1.5 | 1223.689 | 2.7 | 1802758.22 | 1.9 | 0.89 | 2 | 117906.05 | 2.1 | 0.076 | 9.4 | 1821.95 | 5.1 | 6.737 | 3.3 | 52248.62 | 1.9 | 6.802 | 2.2 | 462340.04 | 1.6 | 40110.33 | 0.9 | 110.5 | 53498.46 | 2 | 103.3 | 53564.6 | 2 | 104.7
42 Ca [ No Collision Cell ] : Concentration value = 4016.54 is over the calibration range43 Ca [ No Collision Cell ] : Concentration value = 2109.43 is over the calibration range44 Ca [ No Collision Cell ] : Concentration value = 2660.63 is over the calibration range | FALSE | 031SMPL.d | 2019-11-26 18:07 | Sample |  | Strelow-3-2 | 22.042 | 1.4 | 502223.19 | 1.4 | 21.806 | 1.6 | 76451.63 | 2.2 | 4016.543 | 2.5 | 2503506.69 | 2 | 2109.428 | 0.6 | 233099.49 | 1.4 | 2660.631 | 4.5 | 3832805.2 | 3.6 | 0.939 | 1.3 | 122978.04 | 1.6 | 0.146 | 14.9 | 2715 | 9.4 | 9.653 | 2.3 | 75300.51 | 1.8 | 9.554 | 2.8 | 654015.3 | 1.5 | 39827.14 | 1.5 | 109.7 | 53892.27 | 1.7 | 104 | 52638.32 | 2.5 | 102.9
42 Ca [ No Collision Cell ] : Concentration value = 1315.24 is over the calibration range | FALSE | 032SMPL.d | 2019-11-26 18:10 | Sample |  | Strelow-3-3 | 5.581 | 1 | 136042.94 | 1.1 | 5.684 | 2.2 | 21807.77 | 2.6 | 1315.241 | 5.1 | 1728090.42 | 1.5 | 683.838 | 1 | 77923.28 | 1.4 | 849.757 | 1.3 | 1285299.33 | 0.7 | 0.232 | 2.3 | 38558.96 | 1.9 | 0.03 | 33 | 1261.33 | 10.1 | 2.72 | 5.4 | 21724.24 | 4.1 | 2.699 | 1.4 | 187506.79 | 0.7 | 40680.32 | 0.7 | 112.1 | 54619.65 | 1.4 | 105.4 | 53815.84 | 1.4 | 105.2
| FALSE | 033SMPL.d | 2019-11-26 18:12 | Sample |  | Strelow-3-4 | 0.329 | 10 | 16090.78 | 4.5 | 0.312 | 21.3 | 3115.47 | 6.6 | 316.872 | 21.6 | 1451884.35 | 0.9 | 175.73 | 1.7 | 21276.64 | 1.9 | 224.818 | 1.1 | 385478.04 | 0.7 | 0.02 | 6.5 | 12612.1 | 2.3 | -0.007 | N/A | 826.86 | 7.8 | 0.715 | 6.5 | 6159.53 | 5.5 | 0.719 | 1.8 | 52017.68 | 1.9 | 41551.61 | 1.5 | 114.5 | 56591.37 | 1 | 109.2 | 56426.66 | 1.2 | 110.3
42 Ca [ No Collision Cell ] : Concentration value = 5925.27 is over the calibration range43 Ca [ No Collision Cell ] : Concentration value = 3393.24 is over the calibration range44 Ca [ No Collision Cell ] : Concentration value = 4170.84 is over the calibration range89 Y ( ISTD ) [ No Collision Cell ] : ISTD Recovery Percent value = 140.99 is outside the allowed range [80.00, 120.00] | FALSE | 034SMPL.d | 2019-11-26 18:15 | Sample |  | Gall-1-1 | 31.974 | 2.2 | 776002.14 | 0.9 | 32.037 | 1.4 | 119282.27 | 1.5 | 5925.273 | 3.4 | 3293988.22 | 1.4 | 3393.243 | 2 | 400713.57 | 1.2 | 4170.841 | 1.6 | 6404939.06 | 2 | 1.688 | 2.8 | 228322.97 | 0.3 | 0.042 | 19.2 | 1894.03 | 7.1 | 6.656 | 1.8 | 70499.9 | 0.7 | 6.606 | 1.3 | 613115.1 | 0.3 | 42651.94 | 2.8 | 117.5 | 73038.98 | 1.3 | 141 | 57196.41 | 2.1 | 111.8
42 Ca [ No Collision Cell ] : Concentration value = 3172.97 is over the calibration range43 Ca [ No Collision Cell ] : Concentration value = 1856.45 is over the calibration range44 Ca [ No Collision Cell ] : Concentration value = 2311.29 is over the calibration range | FALSE | 035SMPL.d | 2019-11-26 18:18 | Sample |  | Gall-1-2 | 11.315 | 2.6 | 277964.31 | 1.6 | 11.16 | 3.1 | 42546.78 | 2.2 | 3172.974 | 7 | 2389422.53 | 2.2 | 1856.445 | 2.5 | 218011.63 | 2.1 | 2311.289 | 2.8 | 3544069.12 | 2.1 | 0.267 | 4.2 | 44555.67 | 1.9 | 0.025 | 11.7 | 1307.38 | 2.1 | 4.463 | 2.8 | 38403.49 | 1.5 | 4.387 | 2.3 | 330002.56 | 1.5 | 42306.54 | 1.8 | 116.5 | 59176.15 | 1.6 | 114.2 | 56709.96 | 1.6 | 110.9
42 Ca [ No Collision Cell ] : Concentration value = 1141.62 is over the calibration range44 Ca [ No Collision Cell ] : Concentration value = 1006.32 is over the calibration range55 Mn [ No Collision Cell ] : CPS RSD value = 5.27 is over the allowed maximum = 5.00 | FALSE | 036SMPL.d | 2019-11-26 18:21 | Sample |  | Gall-1-3 | 3.208 | 2.8 | 85792.69 | 2.1 | 3.257 | 2.4 | 14000.61 | 1.5 | 1141.621 | 4.1 | 1759053.56 | 1.7 | 792.676 | 2.5 | 94662.12 | 1.4 | 1006.324 | 2.5 | 1588639.61 | 1.7 | 0.022 | 20.1 | 13267.33 | 5.3 | -0.004 | N/A | 882.92 | 11.9 | 8.4 | 2.8 | 70015.07 | 1.8 | 8.284 | 2 | 605730.89 | 1 | 42726.19 | 1.2 | 117.7 | 57556.05 | 1.9 | 111.1 | 56032.68 | 1.3 | 109.5
24 Mg [ No Collision Cell ] : CPS RSD value = 7.10 is over the allowed maximum = 5.0055 Mn [ No Collision Cell ] : CPS RSD value = 9.57 is over the allowed maximum = 5.00 | FALSE | 037SMPL.d | 2019-11-26 18:24 | Sample |  | Gall-1-4 | 0.164 | 20.3 | 12399.63 | 7.1 | 0.112 | 50.6 | 2438.66 | 9.4 | -249.169 | N/A | 1291364.26 | 0.7 | 2.601 | 38.8 | 1427.51 | 8.6 | 10.358 | 10.2 | 68149.63 | 2.2 | 0.005 | 163.5 | 10861 | 9.6 | -0.017 | N/A | 704.73 | 19.5 | 0.253 | 5.2 | 2416.65 | 3.4 | 0.252 | 2.1 | 18664.84 | 2.5 | 42099.78 | 1.1 | 116 | 57264.8 | 1.5 | 110.5 | 56406.25 | 1.4 | 110.3
55 Mn [ No Collision Cell ] : CPS RSD value = 5.29 is over the allowed maximum = 5.00 | FALSE | 038SMPL.d | 2019-11-26 18:26 | Sample |  | Gall-1-5 | 0.184 | 9 | 12832.4 | 3.9 | 0.104 | 29.2 | 2400.62 | 5 | -210.25 | N/A | 1299760.78 | 1.1 | -1.587 | N/A | 936.98 | 10.4 | 4.961 | 13.5 | 59849.87 | 0.7 | 0.004 | 100 | 10794.85 | 5.3 | -0.034 | N/A | 472.48 | 8 | 0.028 | 31.2 | 558.58 | 12.2 | 0.027 | 7.1 | 2264.46 | 5.1 | 41973.25 | 1.2 | 115.6 | 57308.88 | 2.5 | 110.6 | 58153 | 0.6 | 113.7
24 Mg [ No Collision Cell ] : CPS RSD value = 5.22 is over the allowed maximum = 5.00 | FALSE | 039SMPL.d | 2019-11-26 18:29 | Sample |  | Gall-1-6 | 0.253 | 13.2 | 14465.51 | 5.2 | 0.174 | 35.7 | 2650.91 | 8.1 | -150.043 | N/A | 1318737.41 | 1.8 | -1.173 | N/A | 985.03 | 3.7 | 4.961 | 15.3 | 59852.26 | 1.3 | 0.006 | 49.6 | 10975.13 | 3.6 | 0.044 | 12.5 | 1529.63 | 5.6 | 0.016 | 37.5 | 470.48 | 10.5 | 0.019 | 14 | 1715.84 | 10.8 | 41977.27 | 1.8 | 115.6 | 57853.67 | 1 | 111.7 | 57644.78 | 0.7 | 112.7
| FALSE | 040SMPL.d | 2019-11-26 18:32 | Sample |  | Blank | 0.008 | 234.7 | 8731.35 | 5.7 | -0.049 | N/A | 1861.99 | 13.6 | -236.528 | N/A | 1299693.94 | 1.8 | -1.473 | N/A | 957 | 22.3 | 1.795 | 63 | 55438.52 | 1.6 | -0.005 | N/A | 9644.9 | 4.9 | -0.012 | N/A | 774.8 | 14.3 | 0.008 | 79 | 396.41 | 12.6 | 0.008 | 31.7 | 918.96 | 20.7 | 42238.25 | 1.8 | 116.4 | 57807.53 | 1.1 | 111.6 | 58155.09 | 2 | 113.7
| FALSE | 041SMPL.d | 2019-11-26 18:35 | Sample |  | middle std | 97.951 | 2.1 | 2286330.61 | 1.6 | 93.484 | 1.4 | 333419.83 | 1.5 | 27.717 | 278.6 | 1353461.63 | 0.6 | 79.338 | 2.6 | 10155.71 | 1.8 | 85.071 | 1.6 | 177121.46 | 1.6 | 249.51 | 2 | 31234444.1 | 2.2 | 26.678 | 2.3 | 363082.36 | 1.4 | 72.713 | 2 | 608341.43 | 1.4 | 74.067 | 2.2 | 5455982.76 | 1.7 | 41318.77 | 1.9 | 113.8 | 58012.39 | 2.3 | 112 | 57099.88 | 2 | 111.6
| FALSE | 042SMPL.d | 2019-11-26 18:38 | Sample |  | Gall-1-7 | 3.437 | 1.7 | 89165.69 | 1.3 | 3.465 | 2.8 | 14419.43 | 2.2 | 133.907 | 91 | 1400569.64 | 2.4 | 81.955 | 4.1 | 10558.39 | 2.9 | 113.04 | 1.6 | 220582.53 | 1.4 | 0.592 | 2.2 | 84962.42 | 2 | 29.031 | 2.8 | 387880.94 | 3 | 0.58 | 6.8 | 5092.04 | 7.2 | 0.571 | 1.4 | 41651.89 | 2.3 | 41730.28 | 1 | 115 | 56945.23 | 1.2 | 109.9 | 58770.52 | 1.1 | 114.9
| FALSE | 043SMPL.d | 2019-11-26 18:40 | Sample |  | Gall-1-8 | 1.648 | 4.1 | 47751.39 | 2.5 | 1.629 | 4.7 | 7948.12 | 2.8 | 123.006 | 107.1 | 1415057.09 | 0.8 | 79.927 | 3.3 | 10460.23 | 2.1 | 109.79 | 4 | 218502.95 | 1.7 | 0.069 | 5.4 | 19169.73 | 2.3 | 0.203 | 4.6 | 3640.12 | 3.1 | 0.424 | 5.4 | 3818.35 | 4.5 | 0.393 | 2.8 | 28863.87 | 2.6 | 42284.62 | 2.4 | 116.5 | 57132.27 | 1.9 | 110.3 | 57113.95 | 1.2 | 111.7
| FALSE | 044SMPL.d | 2019-11-26 18:43 | Sample |  | Gall-1-9 | 4.606 | 1.9 | 118547.78 | 1.7 | 4.595 | 2.9 | 18766.56 | 1.1 | 440.986 | 27.1 | 1521781.62 | 1.6 | 265.344 | 2.4 | 32213.17 | 1 | 341.223 | 1.9 | 569836.8 | 1.2 | 1.49 | 1.7 | 201786.46 | 1.6 | 79.669 | 2.9 | 1055416.87 | 1.9 | 1.749 | 5.2 | 14580.07 | 3.9 | 1.741 | 2.1 | 125343.85 | 1.6 | 42421.05 | 1.7 | 116.9 | 56569.17 | 2.3 | 109.2 | 55188.55 | 1.7 | 107.9
45 Sc ( ISTD ) [ No Collision Cell ] : ISTD Recovery Percent value = 120.78 is outside the allowed range [80.00, 120.00] | FALSE | 045SMPL.d | 2019-11-26 18:46 | Sample |  | Gall-1-10 | 2.335 | 3.1 | 66466.57 | 0.5 | 2.336 | 5.8 | 10894.92 | 3 | -22.5 | N/A | 1418996.79 | 1.3 | 106.271 | 5.4 | 14026.75 | 2.9 | 159.711 | 3.8 | 304645.26 | 1.1 | 0.396 | 4.1 | 63266.58 | 2.2 | 20.428 | 3.4 | 272304.43 | 2.4 | 0.59 | 3.5 | 5154.12 | 4.5 | 0.584 | 1.7 | 42432.77 | 1.4 | 43842.91 | 2.6 | 120.8 | 56774.26 | 1.5 | 109.6 | 55280.75 | 1.3 | 108.1
45 Sc ( ISTD ) [ No Collision Cell ] : ISTD Recovery Percent value = 124.74 is outside the allowed range [80.00, 120.00] | FALSE | 046SMPL.d | 2019-11-26 18:49 | Sample |  | Gall-1-11 | 0.996 | 7.1 | 34520.14 | 3.7 | 0.993 | 8.1 | 6037.31 | 3.1 | -375.293 | N/A | 1345192.09 | 1.4 | 5.952 | 19.7 | 1956.1 | 9.3 | 32.831 | 7.2 | 109569.06 | 1.3 | 0.036 | 11.8 | 15934.66 | 2.5 | 0.306 | 5.7 | 5009.91 | 3.5 | 0.036 | 20.9 | 624.64 | 8.9 | 0.033 | 8.2 | 2688.97 | 7.2 | 45282.33 | 2.8 | 124.7 | 57081.72 | 1.7 | 110.2 | 55940.11 | 2.3 | 109.4
| FALSE | 047SMPL.d | 2019-11-26 18:52 | Sample |  | Gall-1-12 | 0.91 | 5.3 | 31035.06 | 1.8 | 0.904 | 8.3 | 5464.5 | 4 | -278.388 | N/A | 1323025.72 | 1.7 | 1.446 | 99.2 | 1331.41 | 10.3 | 14.19 | 14.6 | 76246.87 | 1.7 | 0.008 | 40.9 | 11632.31 | 0.9 | 0.001 | 945.8 | 934.98 | 10.8 | 0.015 | 52.2 | 450.46 | 14.5 | 0.014 | 4.8 | 1357.43 | 3.6 | 43474.07 | 3.4 | 119.8 | 57172.28 | 2 | 110.4 | 55867.87 | 1.3 | 109.2
| FALSE | 048SMPL.d | 2019-11-26 18:54 | Sample |  | Gall-1-13 | 0.65 | 2.5 | 24087.48 | 2.8 | 0.557 | 17 | 4066.65 | 6.6 | -147.225 | N/A | 1333039.08 | 2.6 | 0.918 | 43.4 | 1239.3 | 1.9 | 6.392 | 19.9 | 62589.99 | 1.4 | 0.001 | 165.7 | 10508.34 | 3.5 | -0.019 | N/A | 672.7 | 13.4 | 0.017 | 30.5 | 466.48 | 9.4 | 0.011 | 26.6 | 1153.21 | 17.9 | 42392.84 | 2.5 | 116.8 | 57017.47 | 1.3 | 110.1 | 56460.61 | 1.5 | 110.4
| FALSE | 049SMPL.d | 2019-11-26 18:57 | Sample |  | Gall-1-14 | 0.684 | 4.3 | 25126.2 | 2.9 | 0.632 | 12.2 | 4383.06 | 5.3 | -236.302 | N/A | 1316618.91 | 2.3 | 9.854 | 15.3 | 2306.51 | 7.1 | 16.978 | 6.6 | 79368.14 | 1.8 | 0.023 | 16.4 | 13389.55 | 4 | -0.006 | N/A | 858.89 | 15.1 | 0.018 | 42.2 | 486.5 | 13.3 | 0.023 | 10.7 | 2040.21 | 8.2 | 42790.43 | 2.2 | 117.9 | 57827.44 | 1 | 111.6 | 56919.07 | 2.3 | 111.3
| FALSE | 050SMPL.d | 2019-11-26 19:00 | Sample |  | Gall-1-15 | 5.06 | 1 | 129346.22 | 0.9 | 4.926 | 1.4 | 19971.34 | 1.6 | 525.947 | 10.3 | 1548687.93 | 1.2 | 383.064 | 1.5 | 45997.09 | 2 | 492.591 | 1.5 | 798907.7 | 1.5 | 0.177 | 5 | 33018.16 | 3.6 | 0.037 | 8.4 | 1459.55 | 3.3 | 1.855 | 2.5 | 16035.06 | 1.9 | 1.87 | 1.8 | 139704.75 | 1.7 | 42402.99 | 1 | 116.8 | 58695.79 | 2.3 | 113.3 | 57958.19 | 1.1 | 113.3
| FALSE | 051SMPL.d | 2019-11-26 19:03 | Sample |  | Gall-1-16 | 3.495 | 0.8 | 92827.19 | 1.2 | 3.425 | 2.2 | 14641.87 | 3.2 | -75.488 | N/A | 1368216.75 | 2.3 | 79.056 | 2.9 | 10488.27 | 3.8 | 105.894 | 2.2 | 215231.01 | 1.6 | 0.061 | 4.2 | 18397.97 | 2.4 | 0.067 | 9 | 1872.01 | 5 | 0.071 | 8.3 | 944.99 | 4.5 | 0.068 | 5.4 | 5420.51 | 4.9 | 42788.44 | 1.8 | 117.9 | 58935.06 | 1.1 | 113.8 | 57176.21 | 2.7 | 111.8
| FALSE | 052SMPL.d | 2019-11-26 19:06 | Sample |  | cleanout | -0.027 | N/A | 7843.98 | 6.7 | -0.073 | N/A | 1759.88 | 8.6 | -172.742 | N/A | 1311386.04 | 1.5 | -1.244 | N/A | 977.02 | 3.3 | 1.361 | 49.3 | 54452.03 | 1.7 | -0.01 | N/A | 8915.7 | 6.3 | -0.019 | N/A | 686.71 | 13.7 | 0.01 | 69 | 420.43 | 12.8 | 0.005 | 67.5 | 740.77 | 35.7 | 41971.27 | 1.8 | 115.6 | 58667.59 | 1.3 | 113.2 | 57843.64 | 1 | 113.1
| FALSE | 053SMPL.d | 2019-11-26 19:08 | Sample |  | cleanout | 0.002 | 1153.8 | 8553.06 | 7.5 | -0.077 | N/A | 1753.87 | 12.6 | -235.889 | N/A | 1294227.53 | 1.2 | -1.939 | N/A | 898.94 | 11.3 | 1.062 | 63.9 | 54118.46 | 1.5 | -0.012 | N/A | 8683.31 | 5.5 | -0.021 | N/A | 660.68 | 11 | 0.004 | 155.7 | 374.38 | 14.5 | 0.004 | 50 | 666.69 | 24.1 | 42059.52 | 1.3 | 115.9 | 58721.98 | 1.7 | 113.4 | 57765.21 | 1.7 | 112.9

## Chemistry Sheet
Strelow-2 | [5 empty] | Gall-1
Column 1 | [5 empty] | Column 1
Action | Reagent | mL | What elutes? | What sticks? |  | Action | Reagent | mL | What elutes? | What sticks? | √
load resin | AG1X-8 either 100-200 | 1.8 |  |  |  | load resin | AG50W-X4 (200-400 mesh) | 0.8
condition | 0.05M oxalic acid + 0.01M HCl + 0.015% H2O2 | 8 |  |  |  | condition column | 3 M NH4OH-0.1M diammonium citrate | 3
load sample | 0.05M oxalic acid + 0.01M HCl + 0.015% H2O2 | 6 | Ca, Sr, Ba, Na, Mg, Mn (II),K, Rb, Cs, Li | Ni, Al, Cu, Zn (II), Cd | 1 2 | load sample | 2 mL 0.5M HCl, 0.6 mL conc NH4OH, 0.3 mL 1M diammonium citrate | ~3 | Al, Ti, Fe, Cr, Ca, K, Na, Mg as citrate complex | Ni, Cu, Zn as ammonia complex
Rinse sample vial | 0.05M oxalic acid + 0.01M HCl + 0.015% H2O2 | 3 | Ca, Sr, Ba, Na, Mg, Mn (II),K, Rb, Cs, Li | Ni, Al, Cu, Zn (II), Cd | 3 | rinse | 0.1 M NH4-citrate + 3 M NH4OH | 8 | Al, Ti, Fe, Cr, Ca, K, Na, Mg as citrate complex | Ni, Cu, Zn as ammonia complex
Rinse Column | 0.05M oxalic acid + 0.01M HCl + 0.015% H2O2 | 21 | Ca, Sr, Ba, Na, Mg, Mn (II),K, Rb, Cs, Li | Ni, Al, Cu, Zn (II), Cd | 4 5 6 7 8 9 10 | rinse | 0.4 M HCl | 1 | ammonia | Ni, Cu, Zn as ammonia complex
Collect Ni | 0.05M oxalic acid + 0.2M HCl + 0.015% H2O2 | 15 | Ni, Cu (a little), Zn(a little) | Al, Cu (a bit), Zn(a little), Cd | 11 12 13 14 15 | Elute Ni | 3 M HCl | 4 | Ni, Cu, Zn
[6 empty] | Dry Down | conc HNO3 | 10 drops | to break down Ni-ammonium complex
[6 empty] | Dy Down | 6 M HCl | 1 drop
Column 2
[6 empty] | Action | Reagent | mL | What elutes? | What sticks? | √
[6 empty] | load resin | AG50W-X4 (200-400 mesh) | 0.2
[6 empty] | condition column | 0.1 M HCl + 0.05 M oxalic acid | 1
[6 empty] | load sample | 0.1 mL 1M HCl, 0.8 mL MQ, 0.1 mL 0.5M oxalic acid | 1 | Fe Al, Cr, and Ti as oxalic complexes | Ni, Fe
[6 empty] | rinse | 0.1 M HCl-0.05 M oxalic acid | 3 | Fe Al, Cr, and Ti as oxalic complexes | Ni, Fe
[6 empty] | rinse | 0.5 M HCl-95% acetone | 4 | Mn, Cu, Zn, Cd, Sn | Ni, Fe
[6 empty] | Elute Ni | 0.5M HCl -95% acetone+0.1M DMG | 2 | Ni, Fe
[6 empty] | Dry Down | conc HNO3 | 5 drops
[6 empty] | Dry Down | conc HNO3 | 10 drops | to break down DMG
[6 empty] | Dy Down | 6 M HCl | 1 drop
Column 3
[6 empty] | Action | Reagent | mL | What elutes? | What sticks? | √
[6 empty] | load resin | AG1-X8 200-400 mesh | 0.1
[6 empty] | condition column | 6 M HCl + 0.5% H2O2 | 0.4
[6 empty] | load sample/elute Ni | 0.2 ml 6 M HCl + 0.5% H2O2 | 0.2 | Ni | Fe
[6 empty] | Elute Ni | 6 M HCl + 0.5% H2O2 | 0.2 | Ni | Fe
[6 empty] | Dry Down | conc HNO3 | 1 drop

## Gall-1_Reduced
RAW DATA |  |  |  | 24 Mg [ No Collision Cell ] |  |  |  | 26 Mg [ No Collision Cell ] |  |  |  | 42 Ca [ No Collision Cell ] |  |  |  | 43 Ca [ No Collision Cell ] |  |  |  | 44 Ca [ No Collision Cell ] |  |  |  | 55 Mn [ No Collision Cell ] |  |  |  | 60 Ni [ No Collision Cell ] |  |  |  | 86 Sr [ No Collision Cell ] |  |  |  | 88 Sr [ No Collision Cell ] |  |  |  | 45 Sc ( ISTD ) [ No Collision Cell ] |  |  | 89 Y ( ISTD ) [ No Collision Cell ] |  |  | 115 In ( ISTD ) [ No Collision Cell ]
|  | Sample Name | dilution | Conc. [ ppb ] | Conc. RSD | CPS | CPS RSD | Conc. [ ppb ] | Conc. RSD | CPS | CPS RSD | Conc. [ ppb ] | Conc. RSD | CPS | CPS RSD | Conc. [ ppb ] | Conc. RSD | CPS | CPS RSD | Conc. [ ppb ] | Conc. RSD | CPS | CPS RSD | Conc. [ ppb ] | Conc. RSD | CPS | CPS RSD | Conc. [ ppb ] | Conc. RSD | CPS | CPS RSD | Conc. [ ppb ] | Conc. RSD | CPS | CPS RSD | Conc. [ ppb ] | Conc. RSD | CPS | CPS RSD | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery %
|  | test pancake |  | 0.887 | 19.1 | 24729.25 | 8.7 | 0.863 | 24.3 | 4310.98 | 10.4 | 70.594 | 376.7 | 1170110.46 | 1 | 0.964 | 28.4 | 1041.09 | 4.7 | 2.332 | 80 | 47135.68 | 1.4 | -0.001 | N/A | 8531.07 | 4 | 0.011 | 66 | 936.98 | 11.3 | 0.003 | 347.8 | 306.31 | 21.5 | 0 | 288.1 | 308.32 | 17.1 | 35462.03 | 5.8 | 100 | 49864.1 | 6.2 | 100 | 55411.69 | 5.4 | 100
|  | Blank |  | 0 | N/A | 7333.2 | 5.7 | 0 | N/A | 1749.87 | 10.6 | 0 | N/A | 1181600.82 | 1.3 | 0 | N/A | 971.01 | 14.5 | 0 | N/A | 45314.41 | 2.1 | 0 | N/A | 8853.59 | 2.1 | 0 | N/A | 836.87 | 11.6 | 0 | N/A | 298.31 | 9.3 | 0 | N/A | 300.31 | 19.6 | 36300.72 | 1.8 | 100 | 51804.58 | 1.8 | 100 | 51151.27 | 1.5 | 100
|  | most dilute std |  | 9.832 | 1.9 | 207729.79 | 0.4 | 9.777 | 0.7 | 32130.58 | 1.5 | 43.058 | 222.3 | 1190458.46 | 1.2 | 7.418 | 19.1 | 1707.83 | 6.8 | 6.056 | 15.8 | 53051.57 | 1.9 | 26.246 | 4.5 | 2886169.91 | 2.8 | 2.939 | 2.8 | 36405.56 | 1.5 | 7.85 | 2.9 | 58812.06 | 1.6 | 7.861 | 2 | 516495.39 | 1.4 | 36214.35 | 1.7 | 99.8 | 51714.25 | 1.7 | 99.8 | 49867.52 | 1 | 97.5
|  | middle std |  | 98.721 | 4.1 | 2004965.53 | 3.2 | 98.959 | 1.4 | 307070.8 | 1.5 | 127.033 | 78.3 | 1204778.74 | 0.8 | 89.19 | 4.7 | 9813.13 | 2.4 | 88.762 | 3.3 | 158849.94 | 0.9 | 264.764 | 1.8 | 28842641.88 | 1.4 | 28.96 | 1.1 | 352016.09 | 1.4 | 78.328 | 1.2 | 585353.56 | 1.3 | 76.944 | 2.8 | 5062551.12 | 2.5 | 35963.57 | 2.5 | 99.1 | 51808.56 | 1.4 | 100 | 50614.75 | 1.1 | 99
|  | most conc std |  | 999.628 | 0.4 | 20881045.31 | 0.9 | 999.606 | 1 | 3183373.09 | 0.6 | 912.838 | 11.3 | 1462908.03 | 1.8 | 916.798 | 1.8 | 94908.02 | 1.6 | 916.853 | 3 | 1260765.52 | 2.7 | 2704.197 | 1.5 | 303832097.39 | 1.6 | 297.93 | 1.1 | 3642091.76 | 1.7 | 800.777 | 1.6 | 6029232.21 | 2.6 | 800.908 | 2.3 | 53117111.99 | 3.1 | 37091.47 | 0.9 | 102.2 | 52212.46 | 1.2 | 100.8 | 50773.7 | 2.3 | 99.3
|  | Gall-1-1 | 5000 | 31.974 | 2.2 | 776002.14 | 0.9 | 32.037 | 1.4 | 119282.27 | 1.5 | 5925.273 | 3.4 | 3293988.22 | 1.4 | 3393.243 | 2 | 400713.57 | 1.2 | 4170.841 | 1.6 | 6404939.06 | 2 | 1.688 | 2.8 | 228322.97 | 0.3 | 0.042 | 19.2 | 1894.03 | 7.1 | 6.656 | 1.8 | 70499.9 | 0.7 | 6.606 | 1.3 | 613115.1 | 0.3 | 42651.94 | 2.8 | 117.5 | 73038.98 | 1.3 | 141 | 57196.41 | 2.1 | 111.8
|  | Gall-1-2 | 5000 | 11.315 | 2.6 | 277964.31 | 1.6 | 11.16 | 3.1 | 42546.78 | 2.2 | 3172.974 | 7 | 2389422.53 | 2.2 | 1856.445 | 2.5 | 218011.63 | 2.1 | 2311.289 | 2.8 | 3544069.12 | 2.1 | 0.267 | 4.2 | 44555.67 | 1.9 | 0.025 | 11.7 | 1307.38 | 2.1 | 4.463 | 2.8 | 38403.49 | 1.5 | 4.387 | 2.3 | 330002.56 | 1.5 | 42306.54 | 1.8 | 116.5 | 59176.15 | 1.6 | 114.2 | 56709.96 | 1.6 | 110.9
|  | Gall-1-3 | 5000 | 3.208 | 2.8 | 85792.69 | 2.1 | 3.257 | 2.4 | 14000.61 | 1.5 | 1141.621 | 4.1 | 1759053.56 | 1.7 | 792.676 | 2.5 | 94662.12 | 1.4 | 1006.324 | 2.5 | 1588639.61 | 1.7 | 0.022 | 20.1 | 13267.33 | 5.3 | -0.004 | N/A | 882.92 | 11.9 | 8.4 | 2.8 | 70015.07 | 1.8 | 8.284 | 2 | 605730.89 | 1 | 42726.19 | 1.2 | 117.7 | 57556.05 | 1.9 | 111.1 | 56032.68 | 1.3 | 109.5
|  | Gall-1-4 | 5000 | 0.164 | 20.3 | 12399.63 | 7.1 | 0.112 | 50.6 | 2438.66 | 9.4 | -249.169 | N/A | 1291364.26 | 0.7 | 2.601 | 38.8 | 1427.51 | 8.6 | 10.358 | 10.2 | 68149.63 | 2.2 | 0.005 | 163.5 | 10861 | 9.6 | -0.017 | N/A | 704.73 | 19.5 | 0.253 | 5.2 | 2416.65 | 3.4 | 0.252 | 2.1 | 18664.84 | 2.5 | 42099.78 | 1.1 | 116 | 57264.8 | 1.5 | 110.5 | 56406.25 | 1.4 | 110.3
|  | Gall-1-5 | 5000 | 0.184 | 9 | 12832.4 | 3.9 | 0.104 | 29.2 | 2400.62 | 5 | -210.25 | N/A | 1299760.78 | 1.1 | -1.587 | N/A | 936.98 | 10.4 | 4.961 | 13.5 | 59849.87 | 0.7 | 0.004 | 100 | 10794.85 | 5.3 | -0.034 | N/A | 472.48 | 8 | 0.028 | 31.2 | 558.58 | 12.2 | 0.027 | 7.1 | 2264.46 | 5.1 | 41973.25 | 1.2 | 115.6 | 57308.88 | 2.5 | 110.6 | 58153 | 0.6 | 113.7
|  | Gall-1-6 | 2500 | 0.253 | 13.2 | 14465.51 | 5.2 | 0.174 | 35.7 | 2650.91 | 8.1 | -150.043 | N/A | 1318737.41 | 1.8 | -1.173 | N/A | 985.03 | 3.7 | 4.961 | 15.3 | 59852.26 | 1.3 | 0.006 | 49.6 | 10975.13 | 3.6 | 0.044 | 12.5 | 1529.63 | 5.6 | 0.016 | 37.5 | 470.48 | 10.5 | 0.019 | 14 | 1715.84 | 10.8 | 41977.27 | 1.8 | 115.6 | 57853.67 | 1 | 111.7 | 57644.78 | 0.7 | 112.7
|  | Gall-1-7 | 13.1752 | 3.437 | 1.7 | 89165.69 | 1.3 | 3.465 | 2.8 | 14419.43 | 2.2 | 133.907 | 91 | 1400569.64 | 2.4 | 81.955 | 4.1 | 10558.39 | 2.9 | 113.04 | 1.6 | 220582.53 | 1.4 | 0.592 | 2.2 | 84962.42 | 2 | 29.031 | 2.8 | 387880.94 | 3 | 0.58 | 6.8 | 5092.04 | 7.2 | 0.571 | 1.4 | 41651.89 | 2.3 | 41730.28 | 1 | 115 | 56945.23 | 1.2 | 109.9 | 58770.52 | 1.1 | 114.9
|  | Gall-1-8 | 13.3333 | 1.648 | 4.1 | 47751.39 | 2.5 | 1.629 | 4.7 | 7948.12 | 2.8 | 123.006 | 107.1 | 1415057.09 | 0.8 | 79.927 | 3.3 | 10460.23 | 2.1 | 109.79 | 4 | 218502.95 | 1.7 | 0.069 | 5.4 | 19169.73 | 2.3 | 0.203 | 4.6 | 3640.12 | 3.1 | 0.424 | 5.4 | 3818.35 | 4.5 | 0.393 | 2.8 | 28863.87 | 2.6 | 42284.62 | 2.4 | 116.5 | 57132.27 | 1.9 | 110.3 | 57113.95 | 1.2 | 111.7
|  | Gall-1-9 | 10 | 4.606 | 1.9 | 118547.78 | 1.7 | 4.595 | 2.9 | 18766.56 | 1.1 | 440.986 | 27.1 | 1521781.62 | 1.6 | 265.344 | 2.4 | 32213.17 | 1 | 341.223 | 1.9 | 569836.8 | 1.2 | 1.49 | 1.7 | 201786.46 | 1.6 | 79.669 | 2.9 | 1055416.87 | 1.9 | 1.749 | 5.2 | 14580.07 | 3.9 | 1.741 | 2.1 | 125343.85 | 1.6 | 42421.05 | 1.7 | 116.9 | 56569.17 | 2.3 | 109.2 | 55188.55 | 1.7 | 107.9
|  | Gall-1-10 | 10 | 2.335 | 3.1 | 66466.57 | 0.5 | 2.336 | 5.8 | 10894.92 | 3 | -22.5 | N/A | 1418996.79 | 1.3 | 106.271 | 5.4 | 14026.75 | 2.9 | 159.711 | 3.8 | 304645.26 | 1.1 | 0.396 | 4.1 | 63266.58 | 2.2 | 20.428 | 3.4 | 272304.43 | 2.4 | 0.59 | 3.5 | 5154.12 | 4.5 | 0.584 | 1.7 | 42432.77 | 1.4 | 43842.91 | 2.6 | 120.8 | 56774.26 | 1.5 | 109.6 | 55280.75 | 1.3 | 108.1
|  | Gall-1-11 | 10 | 0.996 | 7.1 | 34520.14 | 3.7 | 0.993 | 8.1 | 6037.31 | 3.1 | -375.293 | N/A | 1345192.09 | 1.4 | 5.952 | 19.7 | 1956.1 | 9.3 | 32.831 | 7.2 | 109569.06 | 1.3 | 0.036 | 11.8 | 15934.66 | 2.5 | 0.306 | 5.7 | 5009.91 | 3.5 | 0.036 | 20.9 | 624.64 | 8.9 | 0.033 | 8.2 | 2688.97 | 7.2 | 45282.33 | 2.8 | 124.7 | 57081.72 | 1.7 | 110.2 | 55940.11 | 2.3 | 109.4
|  | Gall-1-12 | 10 | 0.91 | 5.3 | 31035.06 | 1.8 | 0.904 | 8.3 | 5464.5 | 4 | -278.388 | N/A | 1323025.72 | 1.7 | 1.446 | 99.2 | 1331.41 | 10.3 | 14.19 | 14.6 | 76246.87 | 1.7 | 0.008 | 40.9 | 11632.31 | 0.9 | 0.001 | 945.8 | 934.98 | 10.8 | 0.015 | 52.2 | 450.46 | 14.5 | 0.014 | 4.8 | 1357.43 | 3.6 | 43474.07 | 3.4 | 119.8 | 57172.28 | 2 | 110.4 | 55867.87 | 1.3 | 109.2
|  | Gall-1-13 | 10 | 0.65 | 2.5 | 24087.48 | 2.8 | 0.557 | 17 | 4066.65 | 6.6 | -147.225 | N/A | 1333039.08 | 2.6 | 0.918 | 43.4 | 1239.3 | 1.9 | 6.392 | 19.9 | 62589.99 | 1.4 | 0.001 | 165.7 | 10508.34 | 3.5 | -0.019 | N/A | 672.7 | 13.4 | 0.017 | 30.5 | 466.48 | 9.4 | 0.011 | 26.6 | 1153.21 | 17.9 | 42392.84 | 2.5 | 116.8 | 57017.47 | 1.3 | 110.1 | 56460.61 | 1.5 | 110.4
|  | Gall-1-14 | 17.2414 | 0.684 | 4.3 | 25126.2 | 2.9 | 0.632 | 12.2 | 4383.06 | 5.3 | -236.302 | N/A | 1316618.91 | 2.3 | 9.854 | 15.3 | 2306.51 | 7.1 | 16.978 | 6.6 | 79368.14 | 1.8 | 0.023 | 16.4 | 13389.55 | 4 | -0.006 | N/A | 858.89 | 15.1 | 0.018 | 42.2 | 486.5 | 13.3 | 0.023 | 10.7 | 2040.21 | 8.2 | 42790.43 | 2.2 | 117.9 | 57827.44 | 1 | 111.6 | 56919.07 | 2.3 | 111.3
|  | Gall-1-15 | 4 | 5.06 | 1 | 129346.22 | 0.9 | 4.926 | 1.4 | 19971.34 | 1.6 | 525.947 | 10.3 | 1548687.93 | 1.2 | 383.064 | 1.5 | 45997.09 | 2 | 492.591 | 1.5 | 798907.7 | 1.5 | 0.177 | 5 | 33018.16 | 3.6 | 0.037 | 8.4 | 1459.55 | 3.3 | 1.855 | 2.5 | 16035.06 | 1.9 | 1.87 | 1.8 | 139704.75 | 1.7 | 42402.99 | 1 | 116.8 | 58695.79 | 2.3 | 113.3 | 57958.19 | 1.1 | 113.3
|  | Gall-1-16 | 4 | 3.495 | 0.8 | 92827.19 | 1.2 | 3.425 | 2.2 | 14641.87 | 3.2 | -75.488 | N/A | 1368216.75 | 2.3 | 79.056 | 2.9 | 10488.27 | 3.8 | 105.894 | 2.2 | 215231.01 | 1.6 | 0.061 | 4.2 | 18397.97 | 2.4 | 0.067 | 9 | 1872.01 | 5 | 0.071 | 8.3 | 944.99 | 4.5 | 0.068 | 5.4 | 5420.51 | 4.9 | 42788.44 | 1.8 | 117.9 | 58935.06 | 1.1 | 113.8 | 57176.21 | 2.7 | 111.8
DILUTION CORRECTED PPB |  |  |  |  | ng for the eluted aliquot |  |  |  |  | calculating how much was eluted total in that fraction
|  | dilution factor | mL eluted | Sample Name | [26]Mg | [44]Ca | [55] Mn | [60] Ni | [86]Sr
|  | 5000 | 3 | Gall-1-1 | 160185 | 20854205 | 8440 | 210 | 33030
|  | 5000 | 3 | Gall-1-2 | 55800 | 11556445 | 1335 | 125 | 21935
|  | 5000 | 3 | Gall-1-3 | 16285 | 5031620 | 110 | -20 | 41420
|  | 5000 | 3 | Gall-1-4 | 560 | 51790 | 25 | -85 | 1260
|  | 5000 | 3 | Gall-1-5 | 520 | 24805 | 20 | -170 | 135
|  | 2500 | 3 | Gall-1-6 | 435 | 12402.5 | 15 | 110 | 47.5
|  | 13.1752 | 3 | Gall-1-7 | 45.6522 | 1489.3281 | 7.7997 | 382.4901 | 7.5231
|  | 13.3333 | 3 | Gall-1-8 | 21.72 | 1463.8667 | 0.92 | 2.7067 | 5.24
|  | 10 | 1 | Gall-1-9 | 45.95 | 3412.23 | 14.9 | 796.69 | 17.41
|  | 10 | 2 | Gall-1-10 | 23.36 | 1597.11 | 3.96 | 204.28 | 5.84
|  | 10 | 2 | Gall-1-11 | 9.93 | 328.31 | 0.36 | 3.06 | 0.33
|  | 10 | 2 | Gall-1-12 | 9.04 | 141.9 | 0.08 | 0.01 | 0.14
|  | 10 | 2 | Gall-1-13 | 5.57 | 63.92 | 0.01 | -0.19 | 0.11
|  | 17.2414 | 2 | Gall-1-14 | 10.8966 | 292.7241 | 0.39655 | -0.10345 | 0.39655
|  | 5 | 0.2 | Gall-1-15 | 19.704 | 1970.364 | 0.708 | 0.148 | 7.48
|  | 5 | 0.4 | Gall-1-16 | 13.7 | 423.576 | 0.244 | 0.268 | 0.272
NICKEL RECOVERY
| Ni spike conc (ppm) |  | 95.938
| vial before aliquot |  | 35.5808
| vial aliquot |  | 35.5612
| mass of aliquot |  | 0.0196
| microg of Ni added |  | 1.8804
| Ni recovery (%) |  | 20.3411

## Strelow-2_Reduced
RAW DATA |  |  |  | 24 Mg [ No Collision Cell ] |  |  |  | 26 Mg [ No Collision Cell ] |  |  |  | 42 Ca [ No Collision Cell ] |  |  |  | 43 Ca [ No Collision Cell ] |  |  |  | 44 Ca [ No Collision Cell ] |  |  |  | 55 Mn [ No Collision Cell ] |  |  |  | 60 Ni [ No Collision Cell ] |  |  |  | 86 Sr [ No Collision Cell ] |  |  |  | 88 Sr [ No Collision Cell ] |  |  |  | 45 Sc ( ISTD ) [ No Collision Cell ] |  |  | 89 Y ( ISTD ) [ No Collision Cell ] |  |  | 115 In ( ISTD ) [ No Collision Cell ]
|  | Sample Name | dilution | Conc. [ ppb ] | Conc. RSD | CPS | CPS RSD | Conc. [ ppb ] | Conc. RSD | CPS | CPS RSD | Conc. [ ppb ] | Conc. RSD | CPS | CPS RSD | Conc. [ ppb ] | Conc. RSD | CPS | CPS RSD | Conc. [ ppb ] | Conc. RSD | CPS | CPS RSD | Conc. [ ppb ] | Conc. RSD | CPS | CPS RSD | Conc. [ ppb ] | Conc. RSD | CPS | CPS RSD | Conc. [ ppb ] | Conc. RSD | CPS | CPS RSD | Conc. [ ppb ] | Conc. RSD | CPS | CPS RSD | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery %
|  | Strelow-2-1 | 5000 | 18.367 | 2.2 | 386473.81 | 0.6 | 18.586 | 1.8 | 60248.43 | 1.5 | 2693.813 | 8.2 | 1938651.18 | 2.6 | 1391.171 | 3.1 | 141824.37 | 1.4 | 1631.804 | 3.1 | 2182283.69 | 2.4 | 0.781 | 2.2 | 95720.27 | 2.1 | 0.058 | 27.9 | 1501.59 | 12.2 | 6.829 | 2.4 | 50026.44 | 1.4 | 6.773 | 2.1 | 434782.64 | 1 | 36672.38 | 2.1 | 101 | 50524.9 | 1.8 | 97.5 | 49078.04 | 1.6 | 95.9
|  | Strelow-2-2 | 5000 | 23.03 | 2.5 | 486740.5 | 1.6 | 22.981 | 3.2 | 74675.25 | 1.5 | 4835.884 | 7.3 | 2551785.48 | 2.6 | 2622.426 | 2.2 | 268749.26 | 1.3 | 3109.461 | 3.4 | 4150681.43 | 1.9 | 1.012 | 2.2 | 122305.59 | 2.3 | 0.13 | 13.7 | 2348.56 | 10.3 | 10.451 | 2 | 75990.88 | 1.3 | 10.454 | 1.2 | 667452.5 | 1.9 | 36983.13 | 2.7 | 101.9 | 50245.51 | 1.4 | 97 | 48672.03 | 1.4 | 95.2
|  | Strelow-2-3 | 5000 | 6.336 | 1 | 141336.45 | 0.9 | 6.402 | 2.2 | 22415.28 | 2.9 | 1605.551 | 5 | 1674911.4 | 0.8 | 800.441 | 1.2 | 83901.67 | 1.2 | 966.441 | 2.7 | 1340952.42 | 2.2 | 0.275 | 1.9 | 40397.69 | 1.5 | 0.018 | 31.8 | 1023.07 | 6.4 | 2.975 | 1.6 | 21846.44 | 1.6 | 2.988 | 1.6 | 191053.1 | 2.5 | 37498.83 | 0.9 | 103.3 | 50267.86 | 2 | 97 | 49314.97 | 0.7 | 96.4
|  | Strelow-2-4 | 5000 | 0.289 | 9.5 | 13579.81 | 3.8 | 0.279 | 22.4 | 2688.95 | 7.4 | 345.594 | 23 | 1309873.49 | 2.5 | 81.76 | 3.7 | 9404.46 | 2.6 | 103.226 | 2 | 183824.05 | 1.2 | -0.004 | N/A | 8631.22 | 2.2 | -0.027 | N/A | 498.51 | 16.2 | 0.187 | 11.7 | 1681.79 | 9.6 | 0.18 | 3.2 | 12011.14 | 5 | 37248.01 | 1.1 | 102.6 | 51354.55 | 2.1 | 99.1 | 49544.12 | 1.9 | 96.9
|  | Strelow-2-5 | 5000 | 0.197 | 10.6 | 11594.14 | 4 | 0.161 | 44.9 | 2300.5 | 10.7 | 222.789 | 38.1 | 1268502.4 | 1.2 | 46.632 | 3.4 | 5760.93 | 1.2 | 59.722 | 3 | 125297.11 | 0.9 | -0.007 | N/A | 8230.61 | 1.6 | -0.036 | N/A | 388.4 | 11.6 | 0.105 | 17.8 | 1045.09 | 11.3 | 0.101 | 4.4 | 6738.38 | 4.9 | 37059.3 | 1.9 | 102.1 | 50205.42 | 1.8 | 96.9 | 49622.34 | 1.6 | 97
|  | Strelow-2-6 | 5000 | 0.178 | 25.9 | 11125.37 | 9.4 | 0.168 | 31.6 | 2306.51 | 8.1 | 230.274 | 40.1 | 1261813.39 | 2.4 | 34.191 | 8.5 | 4459.17 | 7.3 | 45.565 | 4.4 | 105797.49 | 0.4 | -0.004 | N/A | 8487.03 | 5.9 | -0.03 | N/A | 454.47 | 15.5 | 0.105 | 6.9 | 1047.1 | 5.8 | 0.095 | 4.7 | 6327.78 | 4.5 | 36800.45 | 2.3 | 101.4 | 50217.5 | 1.9 | 96.9 | 49047.94 | 2 | 95.9
|  | Strelow-2-7 | 5000 | 0.159 | 14.6 | 10724.63 | 2.6 | 0.134 | 35.2 | 2200.38 | 8 | 131.291 | 40.6 | 1234110.62 | 1.2 | 31.071 | 10.1 | 4138.75 | 7.3 | 37.975 | 4.3 | 95826.47 | 1.3 | -0.008 | N/A | 8042.31 | 1 | -0.02 | N/A | 584.6 | 20.5 | 0.081 | 14.6 | 884.92 | 11 | 0.083 | 3.5 | 5628.78 | 3 | 36794.4 | 2.1 | 101.4 | 50538.87 | 2 | 97.6 | 49086.06 | 2.2 | 96
|  | Strelow-2-8 | 2500 | 0.229 | 8 | 12279.36 | 4.8 | 0.226 | 16.3 | 2512.75 | 6.6 | 149.108 | 141.3 | 1249111.64 | 3.9 | 46.536 | 5.8 | 5758.93 | 4.6 | 58.111 | 4.6 | 123286.5 | 1 | 0.012 | 25.2 | 10448.22 | 2 | -0.019 | N/A | 592.61 | 7.3 | 0.152 | 8.7 | 1407.49 | 7.4 | 0.14 | 2.8 | 9308.37 | 3 | 37105.46 | 2.4 | 102.2 | 50854.25 | 1.3 | 98.2 | 50074.47 | 1.6 | 97.9
|  | Strelow-2-9 | 2500 | 0.26 | 6 | 12862.45 | 2.1 | 0.249 | 22.5 | 2572.81 | 6.4 | 75.8 | 79.7 | 1223829.14 | 1 | 35.325 | 2.9 | 4591.34 | 2 | 46.775 | 2.9 | 107848.19 | 1 | 0.007 | 47.3 | 9801.14 | 3.4 | -0.013 | N/A | 668.69 | 13.8 | 0.115 | 15.5 | 1133.19 | 12.6 | 0.116 | 2.8 | 7755.9 | 3.1 | 36945.02 | 0.9 | 101.8 | 50709.76 | 1.6 | 97.9 | 49909.64 | 1.5 | 97.6
|  | Strelow-2-10 | 2500 | 0.267 | 4.1 | 12954.65 | 1.6 | 0.265 | 9 | 2610.86 | 3.7 | 65.956 | 181.4 | 1215539.96 | 1.2 | 26.042 | 11.8 | 3628.11 | 8.5 | 34.168 | 3.6 | 90816.54 | 0.8 | 0.005 | 76 | 9584.79 | 5 | -0.013 | N/A | 668.69 | 11.5 | 0.1 | 6.3 | 1025.07 | 5.4 | 0.094 | 5.3 | 6357.81 | 4.9 | 36788.36 | 1.8 | 101.3 | 50866.4 | 1.3 | 98.2 | 48997.7 | 0.9 | 95.8
|  | Strelow-2-11 | 10 | 1.49 | 1.2 | 39196.32 | 1.3 | 1.386 | 9.2 | 6295.66 | 6.5 | 10005.203 | 1.6 | 4069021.27 | 1.4 | 5983.808 | 1.6 | 623391.96 | 0.9 | 7032.849 | 2.6 | 9505062.29 | 1.8 | 0.74 | 1.8 | 93665.15 | 2 | 1.324 | 4.5 | 16868.64 | 2.9 | 25.759 | 1.8 | 192454.62 | 0.8 | 25.731 | 2.6 | 1691182.14 | 2.2 | 37663.43 | 1.3 | 103.8 | 51754.53 | 2.3 | 99.9 | 52270.69 | 2.7 | 102.2
|  | Strelow-2-12 | 10 | 1.479 | 3.1 | 40458.83 | 2.4 | 1.416 | 2.4 | 6638.15 | 1.6 | 8802.465 | 3.6 | 3869791.25 | 2.1 | 5145.979 | 2.6 | 556776.87 | 2 | 6121.211 | 2.9 | 8596416.43 | 2.3 | 0.757 | 1.7 | 99174.39 | 1.2 | 2.006 | 3 | 25746.44 | 2 | 23.937 | 2.2 | 183234.69 | 1.4 | 24.459 | 1.4 | 1647187.65 | 1.9 | 39104.75 | 0.7 | 107.7 | 53024.25 | 2.6 | 102.4 | 52933.73 | 2.2 | 103.5
|  | Strelow-2-13 | 10 | 1.551 | 1.3 | 42384.03 | 1.2 | 1.462 | 5.2 | 6848.48 | 3.4 | 8625.781 | 4.2 | 3848739.01 | 2.7 | 4978.461 | 1.2 | 543079.61 | 0.7 | 5832.868 | 1.5 | 8261913.97 | 2.2 | 0.841 | 1.3 | 110035.55 | 0.9 | 1.309 | 1.9 | 17022.99 | 1.9 | 24.839 | 1.2 | 189297.21 | 1.7 | 25.293 | 1.9 | 1695524.29 | 2.4 | 39421.74 | 0.9 | 108.6 | 52773.25 | 1.6 | 101.9 | 54378.56 | 0.7 | 106.3
|  | Strelow-2-14 | 10 | 1.337 | 3.1 | 37054.75 | 1.8 | 1.254 | 10.8 | 6045.31 | 5.7 | 18802.645 | 2.3 | 6770531.51 | 1.1 | 11015.115 | 3 | 1181791.15 | 1.2 | 12963.142 | 3.8 | 18015843.58 | 2.5 | 0.786 | 2 | 101915.66 | 1.3 | 0.933 | 4 | 12407.73 | 3.8 | 24.613 | 2.2 | 187935.63 | 1.8 | 24.989 | 1 | 1678487.85 | 0.9 | 38829.72 | 2.2 | 107 | 52877.71 | 0.7 | 102.1 | 54060.97 | 2.2 | 105.7
|  | Strelow-2-15 | 10 | 1.551 | 2.2 | 42677.14 | 0.3 | 1.376 | 4.2 | 6602.12 | 1.9 | 26730.91 | 3.1 | 9298045.53 | 1.3 | 15415.447 | 2.8 | 1691193.95 | 1.4 | 18783.673 | 3.6 | 26678489.92 | 2.6 | 0.727 | 1.7 | 97169 | 1.4 | 0.872 | 4.2 | 11313.77 | 3.9 | 26.65 | 1.7 | 197695.57 | 1.7 | 27.237 | 0.9 | 1777444.01 | 0.4 | 39710.83 | 1.9 | 109.4 | 51374.72 | 0.5 | 99.2 | 51121.16 | 1.4 | 99.9
|  | Prechem Strelow-3 | 137.5989 | 1262.118 | 2.6 | 40091256.59 | 1.6 | 1266.277 | 2.8 | 6131846.98 | 1.3 | 289367.409 | 2.1 | 124991654.25 | 1.4 | 166256.054 | 1.2 | 25909871.59 | 1.8 | 201944.747 | 1.9 | 406928410.08 | 1.2 | 55.596 | 1.5 | 9514663.7 | 1.5 | 1.095 | 1.3 | 192816.85 | 2.3 | 63.71 | 1.4 | 6501977.66 | 1.6 | 63.643 | 2.5 | 57195030.01 | 3.5 | 56423.37 | 1.7 | 155.4 | 707426.05 | 1.4 | 1365.6 | 46727.65 | 1.5 | 91.4
DILUTION CORRECTED PPB |  |  |  |  | ng for the eluted aliquot |  |  |  |  | calculating how much was eluted total in that fraction
|  | dilution factor | mL eluted | Sample Name | [26]Mg | [44]Ca | [55] Mn | [60] Ni | [86]Sr | total mL eluted
|  | 5000 | 3 | Strelow-2-1 | 92930 | 8159020 | 3905 | 290 | 33865 | 3
|  | 5000 | 3 | Strelow-2-2 | 114905 | 15547305 | 5060 | 650 | 52270 | 6
|  | 5000 | 3 | Strelow-2-3 | 32010 | 4832205 | 1375 | 90 | 14940 | 9
|  | 5000 | 3 | Strelow-2-4 | 1395 | 516130 | -20 | -135 | 900 | 12
|  | 5000 | 3 | Strelow-2-5 | 805 | 298610 | -35 | -180 | 505 | 15
|  | 5000 | 3 | Strelow-2-6 | 840 | 227825 | -20 | -150 | 475 | 18
|  | 5000 | 3 | Strelow-2-7 | 670 | 189875 | -40 | -100 | 415 | 21
|  | 2500 | 3 | Strelow-2-8 | 565 | 145277.5 | 30 | -47.5 | 350 | 24
|  | 2500 | 3 | Strelow-2-9 | 622.5 | 116937.5 | 17.5 | -32.5 | 290 | 27
|  | 2500 | 3 | Strelow-2-10 | 662.5 | 85420 | 12.5 | -32.5 | 235 | 30
|  | 10 | 3 | Strelow-2-11 | 13.86 | 70328.49 | 7.4 | 13.24 | 257.31 | 33
|  | 10 | 3 | Strelow-2-12 | 14.16 | 61212.11 | 7.57 | 20.06 | 244.59 | 36
|  | 10 | 3 | Strelow-2-13 | 14.62 | 58328.68 | 8.41 | 13.09 | 252.93 | 39
|  | 10 | 3 | Strelow-2-14 | 12.54 | 129631.42 | 7.86 | 9.33 | 249.89 | 42
|  | 10 | 3 | Strelow-2-15 | 13.76 | 187836.73 | 7.27 | 8.72 | 272.37 | 45
|  | 137.5989 |  | Prechem Strelow-3 | 174238.3213 | 27787374.8882 | 7649.9484 | 150.6708 | 8757.2067
|  |  |  | total eluted in Ni fraction |  | 507337.43 |  | 64.44
NICKEL RECOVERY
| Ni spike conc (ppm) |  | 95.938 |  |  | Adjusting strelow 3 for strelow 2 weights
| vial before aliquot |  | 33.6539 |  |  | weight of GC for 2 |  | 2.04
| vial aliquot |  | 33.669 |  |  | weight of Ni for 2 |  | 0.016
| mass of aliquot |  | 0.0151 |  |  | weight of GC for 3 |  | 2.0188
| microg of Ni added |  | 1.4487 |  |  | weight of Ni for 3 |  | 0.0191
| Ni recovery (%) |  | #REF!
[8 empty] | [44]Ca |  | [60] Ni
[6 empty] | total Strelow 3 |  | #REF! |  | #REF!
[6 empty] | total Strelow 2 |  | #REF! |  | #REF!
GRAPHING
| dilution factor | mL eluted | Sample Name | [26]Mg | [44]Ca | [55] Mn | [60] Ni | [86]Sr | total mL eluted
| 5000 | 3 | Strelow-2-1 | 92930 | 8159020 | 3905 | 290 | 33865 | 3
| 5000 | 3 | Strelow-2-2 | 114905 | 15547305 | 5060 | 650 | 52270 | 6
| 5000 | 3 | Strelow-2-3 | 32010 | 4832205 | 1375 | 90 | 14940 | 9
| 5000 | 3 | Strelow-2-4 | 1395 | 516130 | -20 | -135 | 900 | 12
| 5000 | 3 | Strelow-2-5 | 805 | 298610 | -35 | -180 | 505 | 15
| 5000 | 3 | Strelow-2-6 | 840 | 227825 | -20 | -150 | 475 | 18
| 5000 | 3 | Strelow-2-7 | 670 | 189875 | -40 | -100 | 415 | 21
| 2500 | 3 | Strelow-2-8 | 565 | 145277.5 | 30 | -47.5 | 350 | 24
| 2500 | 3 | Strelow-2-9 | 622.5 | 116937.5 | 17.5 | -32.5 | 290 | 27
| 2500 | 3 | Strelow-2-10 | 662.5 | 85420 | 12.5 | -32.5 | 235 | 30
| 10 | 3 | Strelow-2-11 | 13.86 | 70328.49 | 7.4 | 13.24 | 257.31 | 33
| 10 | 3 | Strelow-2-12 | 14.16 | 61212.11 | 7.57 | 20.06 | 244.59 | 36
| 10 | 3 | Strelow-2-13 | 14.62 | 58328.68 | 8.41 | 13.09 | 252.93 | 39
| 10 | 3 | Strelow-2-14 | 12.54 | 129631.42 | 7.86 | 9.33 | 249.89 | 42
| 10 | 3 | Strelow-2-15 | 13.76 | 187836.73 | 7.27 | 8.72 | 272.37 | 45
| 137.5989 |  | Prechem Strelow-3 | 174238.3213 | 27787374.8882 | 7649.9484 | 150.6708 | 8757.2067

## Run_Quality
Sample | [6 empty] | 24 Mg [ No Collision Cell ] |  |  |  | 26 Mg [ No Collision Cell ] |  |  |  | 42 Ca [ No Collision Cell ] |  |  |  | 43 Ca [ No Collision Cell ] |  |  |  | 44 Ca [ No Collision Cell ] |  |  |  | 55 Mn [ No Collision Cell ] |  |  |  | 60 Ni [ No Collision Cell ] |  |  |  | 86 Sr [ No Collision Cell ] |  |  |  | 88 Sr [ No Collision Cell ] |  |  |  | 45 Sc ( ISTD ) [ No Collision Cell ] |  |  | 89 Y ( ISTD ) [ No Collision Cell ] |  |  | 115 In ( ISTD ) [ No Collision Cell ]
| Rjct | Data File | Acq. Date-Time | Type | Level | Sample Name | Conc. [ ppb ] | Conc. RSD | CPS | CPS RSD | Conc. [ ppb ] | Conc. RSD | CPS | CPS RSD | Conc. [ ppb ] | Conc. RSD | CPS | CPS RSD | Conc. [ ppb ] | Conc. RSD | CPS | CPS RSD | Conc. [ ppb ] | Conc. RSD | CPS | CPS RSD | Conc. [ ppb ] | Conc. RSD | CPS | CPS RSD | Conc. [ ppb ] | Conc. RSD | CPS | CPS RSD | Conc. [ ppb ] | Conc. RSD | CPS | CPS RSD | Conc. [ ppb ] | Conc. RSD | CPS | CPS RSD | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery % | CPS | CPS RSD | ISTD Recovery %
| FALSE | 002CALB.d | 2019-11-26 16:46 | CalBlk | 1 | Blank | 0 | N/A | 7333.2 | 5.7 | 0 | N/A | 1749.87 | 10.6 | 0 | N/A | 1181600.82 | 1.3 | 0 | N/A | 971.01 | 14.5 | 0 | N/A | 45314.41 | 2.1 | 0 | N/A | 8853.59 | 2.1 | 0 | N/A | 836.87 | 11.6 | 0 | N/A | 298.31 | 9.3 | 0 | N/A | 300.31 | 19.6 | 36300.72 | 1.8 | 100 | 51804.58 | 1.8 | 100 | 51151.27 | 1.5 | 100
| FALSE | 015SMPL.d | 2019-11-26 17:22 | Sample |  | Blank | 0.032 | 82.7 | 8000.2 | 7.5 | 0.003 | 1261.1 | 1759.88 | 5.4 | 169.617 | 31.4 | 1228460.6 | 1.4 | 0.722 | 164.6 | 1043.09 | 12.3 | 2.116 | 45.7 | 48083.63 | 2.2 | 0.008 | 81.9 | 9749.07 | 6.9 | -0.011 | N/A | 684.71 | 15.1 | 0.007 | 143.4 | 340.35 | 20.8 | 0.004 | 44.8 | 572.59 | 21.9 | 36308.73 | 1.4 | 100 | 50183.4 | 2.5 | 96.9 | 49068.11 | 1.9 | 95.9
| FALSE | 026SMPL.d | 2019-11-26 17:53 | Sample |  | Blank | 0.03 | 106.5 | 8681.27 | 7.4 | 0.054 | 41.5 | 2100.27 | 4.7 | 712.013 | 16.1 | 1504476.01 | 1.3 | 0.648 | 224.8 | 1129.18 | 12.7 | 15.487 | 7.2 | 71482.55 | 1.3 | 0.016 | 31.2 | 11548.15 | 4.4 | -0.012 | N/A | 676.7 | 9 | 0.017 | 69.5 | 418.43 | 20.2 | 0.007 | 20.2 | 752.78 | 12.4 | 39676.61 | 1.6 | 109.3 | 51083.39 | 0.8 | 98.6 | 49592.3 | 2.3 | 97
| FALSE | 040SMPL.d | 2019-11-26 18:32 | Sample |  | Blank | 0.008 | 234.7 | 8731.35 | 5.7 | -0.049 | N/A | 1861.99 | 13.6 | -236.528 | N/A | 1299693.94 | 1.8 | -1.473 | N/A | 957 | 22.3 | 1.795 | 63 | 55438.52 | 1.6 | -0.005 | N/A | 9644.9 | 4.9 | -0.012 | N/A | 774.8 | 14.3 | 0.008 | 79 | 396.41 | 12.6 | 0.008 | 31.7 | 918.96 | 20.7 | 42238.25 | 1.8 | 116.4 | 57807.53 | 1.1 | 111.6 | 58155.09 | 2 | 113.7
| FALSE | 006SMPL.d | 2019-11-26 16:57 | Sample |  | cleanout | 0.028 | 60.7 | 7938.1 | 3.9 | 0.038 | 136.3 | 1876.02 | 7.9 | 146.432 | 35.5 | 1227272.44 | 1 | 1.163 | 46.7 | 1091.14 | 4.7 | 2.297 | 28.3 | 48527.54 | 1.6 | 0.051 | 6.1 | 14559.88 | 2 | -0.015 | N/A | 644.66 | 16.1 | 0.003 | 313.7 | 316.33 | 22.2 | 0 | 202 | 326.34 | 19.1 | 36461.35 | 0.7 | 100.4 | 50942.79 | 1.6 | 98.3 | 49439.41 | 2.8 | 96.7
| FALSE | 052SMPL.d | 2019-11-26 19:06 | Sample |  | cleanout | -0.027 | N/A | 7843.98 | 6.7 | -0.073 | N/A | 1759.88 | 8.6 | -172.742 | N/A | 1311386.04 | 1.5 | -1.244 | N/A | 977.02 | 3.3 | 1.361 | 49.3 | 54452.03 | 1.7 | -0.01 | N/A | 8915.7 | 6.3 | -0.019 | N/A | 686.71 | 13.7 | 0.01 | 69 | 420.43 | 12.8 | 0.005 | 67.5 | 740.77 | 35.7 | 41971.27 | 1.8 | 115.6 | 58667.59 | 1.3 | 113.2 | 57843.64 | 1 | 113.1
| FALSE | 053SMPL.d | 2019-11-26 19:08 | Sample |  | cleanout | 0.002 | 1153.8 | 8553.06 | 7.5 | -0.077 | N/A | 1753.87 | 12.6 | -235.889 | N/A | 1294227.53 | 1.2 | -1.939 | N/A | 898.94 | 11.3 | 1.062 | 63.9 | 54118.46 | 1.5 | -0.012 | N/A | 8683.31 | 5.5 | -0.021 | N/A | 660.68 | 11 | 0.004 | 155.7 | 374.38 | 14.5 | 0.004 | 50 | 666.69 | 24.1 | 42059.52 | 1.3 | 115.9 | 58721.98 | 1.7 | 113.4 | 57765.21 | 1.7 | 112.9
| FALSE | 004CALS.d | 2019-11-26 16:52 | CalStd | 3 | middle std | 98.721 | 4.1 | 2004965.53 | 3.2 | 98.959 | 1.4 | 307070.8 | 1.5 | 127.033 | 78.3 | 1204778.74 | 0.8 | 89.19 | 4.7 | 9813.13 | 2.4 | 88.762 | 3.3 | 158849.94 | 0.9 | 264.764 | 1.8 | 28842641.88 | 1.4 | 28.96 | 1.1 | 352016.09 | 1.4 | 78.328 | 1.2 | 585353.56 | 1.3 | 76.944 | 2.8 | 5062551.12 | 2.5 | 35963.57 | 2.5 | 99.1 | 51808.56 | 1.4 | 100 | 50614.75 | 1.1 | 99
| FALSE | 016SMPL.d | 2019-11-26 17:25 | Sample |  | middle std | 101.668 | 1 | 2068515.03 | 1.5 | 98.633 | 1 | 306544.05 | 1 | 255.683 | 11 | 1241834.86 | 0.4 | 85.871 | 3.2 | 9502.63 | 2.7 | 89.566 | 2.2 | 160160.52 | 1.3 | 259.018 | 0.8 | 28263950.58 | 1.2 | 28.793 | 1.1 | 342692.42 | 1.4 | 78.993 | 0.5 | 577990.2 | 0.6 | 79.549 | 0.7 | 5125193.67 | 1.3 | 36011.7 | 0.6 | 99.2 | 50723.75 | 0.7 | 97.9 | 49666.51 | 2.2 | 97.1
| FALSE | 027SMPL.d | 2019-11-26 17:56 | Sample |  | middle std | 102.884 | 3.5 | 2251995.29 | 3.4 | 97.125 | 3 | 324755.77 | 2.1 | 706.468 | 17.3 | 1467917.67 | 2.2 | 85.058 | 2.2 | 10143.69 | 4.2 | 96.318 | 3.8 | 181635.12 | 1.4 | 258.981 | 2.6 | 30401283.46 | 1.9 | 28.851 | 2.7 | 350573.7 | 1.6 | 77.649 | 2.8 | 580068.05 | 1.5 | 80.523 | 2.9 | 5295974.13 | 0.9 | 38759.36 | 2.8 | 106.8 | 51806.92 | 2.1 | 100 | 51058.85 | 1.4 | 99.8
| FALSE | 041SMPL.d | 2019-11-26 18:35 | Sample |  | middle std | 97.951 | 2.1 | 2286330.61 | 1.6 | 93.484 | 1.4 | 333419.83 | 1.5 | 27.717 | 278.6 | 1353461.63 | 0.6 | 79.338 | 2.6 | 10155.71 | 1.8 | 85.071 | 1.6 | 177121.46 | 1.6 | 249.51 | 2 | 31234444.1 | 2.2 | 26.678 | 2.3 | 363082.36 | 1.4 | 72.713 | 2 | 608341.43 | 1.4 | 74.067 | 2.2 | 5455982.76 | 1.7 | 41318.77 | 1.9 | 113.8 | 58012.39 | 2.3 | 112 | 57099.88 | 2 | 111.6
| FALSE | 005CALS.d | 2019-11-26 16:55 | CalStd | 4 | most conc std | 999.628 | 0.4 | 20881045.31 | 0.9 | 999.606 | 1 | 3183373.09 | 0.6 | 912.838 | 11.3 | 1462908.03 | 1.8 | 916.798 | 1.8 | 94908.02 | 1.6 | 916.853 | 3 | 1260765.52 | 2.7 | 2704.197 | 1.5 | 303832097.39 | 1.6 | 297.93 | 1.1 | 3642091.76 | 1.7 | 800.777 | 1.6 | 6029232.21 | 2.6 | 800.908 | 2.3 | 53117111.99 | 3.1 | 37091.47 | 0.9 | 102.2 | 52212.46 | 1.2 | 100.8 | 50773.7 | 2.3 | 99.3
| FALSE | 003CALS.d | 2019-11-26 16:49 | CalStd | 2 | most dilute std | 9.832 | 1.9 | 207729.79 | 0.4 | 9.777 | 0.7 | 32130.58 | 1.5 | 43.058 | 222.3 | 1190458.46 | 1.2 | 7.418 | 19.1 | 1707.83 | 6.8 | 6.056 | 15.8 | 53051.57 | 1.9 | 26.246 | 4.5 | 2886169.91 | 2.8 | 2.939 | 2.8 | 36405.56 | 1.5 | 7.85 | 2.9 | 58812.06 | 1.6 | 7.861 | 2 | 516495.39 | 1.4 | 36214.35 | 1.7 | 99.8 | 51714.25 | 1.7 | 99.8 | 49867.52 | 1 | 97.5
24 Mg [ No Collision Cell ] : CPS RSD value = 8.69 is over the allowed maximum = 5.0045 Sc ( ISTD ) [ No Collision Cell ] : CPS RSD value = 5.82 is over the allowed maximum = 5.0089 Y ( ISTD ) [ No Collision Cell ] : CPS RSD value = 6.16 is over the allowed maximum = 5.00115 In ( ISTD ) [ No Collision Cell ] : CPS RSD value = 5.38 is over the allowed maximum = 5.00 | FALSE | 001CALB.d | 2019-11-26 16:43 | CalBlk | 1 | test pancake | 0.887 | 19.1 | 24729.25 | 8.7 | 0.863 | 24.3 | 4310.98 | 10.4 | 70.594 | 376.7 | 1170110.46 | 1 | 0.964 | 28.4 | 1041.09 | 4.7 | 2.332 | 80 | 47135.68 | 1.4 | -0.001 | N/A | 8531.07 | 4 | 0.011 | 66 | 936.98 | 11.3 | 0.003 | 347.8 | 306.31 | 21.5 | 0 | 288.1 | 308.32 | 17.1 | 35462.03 | 5.8 | 100 | 49864.1 | 6.2 | 100 | 55411.69 | 5.4 | 100